## Slide 1: Global Independence, Possible Local Dependence: Towards More Realistic Error Estimates for Indirect Measurement
Vladik Kreinovich
Department of Computer Science
University of Texas at El Paso, USA
vladik@utep.edu

## Slide 2: Need for Indirect Measurements
In many practical situations, we are we are interested in a quantity y which is difficult to measure directly.
Example: amount of oil in a given oilfield.
To estimate such a quantity, we measure easier-to-measure quantities x1, …, xn which are related to y by a known dependence y=f(x1, …, xn).
We apply the algorithm f to the measurement results X1, …, Xn, producing
Y = f(X1, …, Xn).
This is known as indirect measurement.

## Slide 3: Need for Error Estimation
Measurement are never absolutely accurate, there is always a measurement error di = Xi -- xi.
Thus, the estimate Y = f(X1, …, Xn) is, in general, different from the actual value y = f(x1, …, xn): d = Y – y = f(X1, …, Xn) – f(X1 -- d1,…, Xn -- dn)
Usually, measurements are reasonably accurate, so di are small.
Thus, we can expand the expression for d in Taylor series and keep only linear terms in this expansion: d = c1 * d1 + … + cn * dn
We can assume that the measurements are calibrated, so bias is eliminated, and we know the standard deviations si .

## Slide 4: Traditional Approach: Independent Measurement Errors
Traditional approach assumes that all measurement errors are independent.
Then, s2 = c21 * s21 + … + c2n * s2n
In many cases f is given as a complex algorithm (or even as a black box).
In such cases, partial derivatives can be found by numerical differentiation:
ci = (f(X1,…, Xi-1, Xi + h, Xi+1, …, Xn) – Y) / h.
This requires n+1 calls to f: one to compute Y, n to compute ci .
For complex f and large n, this takes too long.

## Slide 5: Alternative: Monte-Carlo Techniques
We simulate random variables di which are normally distributed with mean 0 and standard deviation si
Then, we apply the data processing algorithm to compute f(X1 + d1,…, Xn + dn) – Y
This difference is normally distributed with 0 mean and desired standard dev. s.
Thus, to estimate s, we can repeat the above procedure several times and find the mean square value of the resulting differences.
The accuracy of the resulting statistical estimate is inverse proportional to the square root of the sample size.
E.g., if we repeat the procedure 25 times, we get the accuracy 20%.

## Slide 6: Measurement Errors Can Be Dependent
Measurement errors in 2 consecutive days are usually indeed independent.
However, measurement errors separated by a few milliseconds are often strongly dependent.
Because of correlations, s is different from its independent-case value.
The problem is that we often do not know the correlations.
In this case, we can estimate the worst-case value s = |c1| * s1 + … + |cn| * sn
A straightforward use of this formula, with numerical differentiation, requires n+1 calls to f; this often takes too long.

## Slide 7: Monte-Carlo Method for Worst-Case Estimation
If di are Cauchy distributed, with pdf proportional to 1/(1 + (x / si)2), then c1 * d1 + … + cn * dn is also Cauchy distributed, with parameter s = |c1| * s1 + … + |cn| * sn
We simulate random variables di which are Cauchy distributed with mean 0 and parameter si
Then, we apply the data processing algorithm to compute f(X1 + d1,…, Xn + dn) – Y
This difference is Cauchy distributed with 0 mean and desired parameter s.
We can find this value by Maximum Likelihood Method.
Here too, the number of iterations depends only on the accuracy and does not grow with number if inputs n.

## Slide 8: Global Independence, Local Dependence
If we assume that all measurement errors are independent, we drastically underestimate the measurement error.
For example, if all measurement errors are strongly correlated, repeating measurement 100 times does not help.
However, independence-based estimate decreases as 1/10.
If we assume that all dependencies are possible, we often drastically overestimate the measurement errors.
In practice, measurement errors are globally independent, but may be locally dependent.

## Slide 9: What We Propose
When we combine locally, errors are still small.
For such errors, we use Cauchy distribution.
When we get to independence, combines errors become larger.
For such errors, we use normal distribution.
So, a natural idea it so use Monte-Carlo, where distribution is Cauchy until some threshold and Gaussian after that.
We tested this idea on geophysical data, it works well.
This was done a few years ago on a heuristic basis, now we have a general explanation, so we can recommend it for all applications.